## 요약된 부품 목록_SST
Bill of material (BOM): |  |  |  | #H#
Bill of material
Pos | designation | Part no. | Order no. | Quantity | Manufacturer
1 | Cooling device | AP-ES230 | AP-ES230 | 1 | AIRMAJOR
2 | Emergency push button | SF2ER-E1RA2B | AUT.SF2ER-E1RA2B | 4 | AUTONICS
3 | Emergency push button | GUARD3-SF2ER | AUT.GUARD3-SF2ER | 4 | AUTONICS
4 | Photo sensor | BJX10M-TDT-P | AUT.BJX10M-TDT-P | 3 | AUTONICS
5 | Line safety switch | DCP31-DN040-AMW | DCP31-DN040-AMW | 3 | DAERYUK
6 | Line safety switch | DCP31-DN200-AMW | DCP31-DN200-AMW | 1 | DAERYUK
7 | Line safety switch | DCP31-DN040-AHW | DCP31-DN040-AHW | 7 | DAERYUK
8 | Line safety switch | DCP31-DN100-AHW | DCP31-DN100-AHW | 3 | DAERYUK
9 | Line safety switch | DCP31-DN070-AHW | DCP31-DN070-AHW | 4 | DAERYUK
10 | Line safety switch | DCP31-DN020-AHW | DCP31-DN020-AHW | 3 | DAERYUK
11 | Braking resistor | MCRJ-300 | MCRJ-300 | 6 | FULLOHM
12 | Braking resistor | MCRJ-600 | MCRJ-600 | 2 | FULLOHM
13 | Braking resistor | MCRJ-1200 | MCRJ-1200 | 1 | FULLOHM
14 | Braking resistor | MCRJ-1500 | MCRJ-1500 | 1 | FULLOHM
15 | Braking resistor | MCRF(JC)-ST-9,6K | MCRF(JC)-ST-9,6K | 1 | FULLOHM
16 | PILOT LAMP | PILOT LAMP(KH-505L-25) | KH.KH-505L-25-W | 1 | KOINO
17 | Pilot lamp | KH-2203L-TLW | KH-2203L-TLW | 8 | KOINO
18 | Push button | KH-2201-Y | KH-2201-Y | 4 | KOINO
19 | Push button | KH-2201-BK | KH-2201-BK | 60 | KOINO
20 | Key selector switch | KH-2202-2K | KH-2202-2K | 7 | KOINO
21 | Illuminated push button | KH-2204L-TLG | KH-2204L-TLG | 3 | KOINO
22 | SELECTOR SWITCH | KH-2202-2S | KH-2202-2S | 3 | KOINO
23 | MCCB | TS100N-FMU/3P80A | 0105011800 | 1 | LSIS
24 | Door handle | EH2-S | EH2-S | 1 | LSIS
25 | 3 terminal cover | ITL23 | ITL23 | 2 | LSIS
26 | Power switch | MMS-32H-17A | MMS-32H-17A | 3 | LSIS
27 | Auxiliary switch | MMS-FX-1NO1NC | MMS-FX-1NO1NC | 55 | LSIS
28 | Power switch | MMS-32H-32A | MMS-32H-32A | 1 | LSIS
29 | Power switch | MMS-32H-26A | MMS-32H-26A | 1 | LSIS
30 | PLC | XEL-BSSRT | XEL-BSSRT | 5 | LSIS
31 | Digital Input module | XBE-DC16D | XBE-DC16D | 24 | LSIS
32 | Digital output module | XBE-TP16D | XBE-TP16D | 15 | LSIS
33 | HUB | XOL-ES4T | XOL-ES4T | 3 | LSIS
34 | Magnetic contactor | MC12a-DC24-10 | MC12a-DC24-10 | 1 | LSIS
35 | Varistor | US-11 | US-11 | 3 | LSIS
36 | Magnetic contactor | MC22b-DC24-11 | MC22b-DC24-11 | 2 | LSIS
37 | Magnetic contactor | GMD-6M-DC24-10 | GMD-6M-DC24-10 | 37 | LSIS
38 | Surge suppressor | AS-12M/4 | AS-12M/4 | 51 | LSIS
39 | Power switch | MMS-32S-1.6A | MMS-32S-1.6A | 27 | LSIS
40 | Magnetic contactor | GMD-6M-DC24-01 | GMD-6M-DC24-01 | 12 | LSIS
41 | Power switch | MMS-32S-1.0A | MMS-32S-1.0A | 13 | LSIS
42 | Power switch | MMS-32S-2.5A | MMS-32S-2.5A | 8 | LSIS
43 | Inverter | LSLV0008S100-4EOFNS | LSLV0008S100-4EOFNS | 6 | LSIS
44 | Power switch | MMS-32S-4A | MMS-32S-4A | 2 | LSIS
45 | Inverter | SV0015IS7-4NOFDT | SV0015IS7-4NOFDT | 2 | LSIS
46 | Power switch | MMS-32S-10A | MMS-32S-10A | 1 | LSIS
47 | Inverter | SV0037IS7-4NOFDT | SV0037IS7-4NOFDT | 1 | LSIS
48 | Power switch | MMS-32S-6A | MMS-32S-6A | 1 | LSIS
49 | Inverter | SV0022IS7-4NOFDT | SV0022IS7-4NOFDT | 1 | LSIS
50 | MAGNETIC CONTACTOR | GMD-12M-DC24-01 | GMD-12M-DC24-01 | 2 | LSIS
51 | Auxiliary switch block | UA4-31 | UA4-31 | 2 | LSIS
52 | Power switch | MMS-32H-22A | MMS-32H-22A | 2 | LSIS
53 | Inverter | SV0075IS7-4NOFDT | SV0075IS7-4NOFDT | 2 | LSIS
54 | Maintenance switch | T3-4-8344/I2/SVB-SW | 207213 | 1 | MOELLER
55 | Relay | MY2IN220/240ACS | MY2IN220/240ACS | 1 | OMRON
56 | Relay socket | PYF08A-E | PYF08A-E | 1 | OMRON
57 | relay with LED | MY4N-D2-24VDC-(S) | MY4N-D2-24VDC-(S) | 6 | OMRON
58 | Relay socket | PYF14A-E | PYF14A-E | 6 | OMRON
59 | limit switch | WLG2-LD | WLG2-LD | 7 | OMRON
60 | Proximity sensor | NJ40+U1+E2 | NJ40+U1+E2 | 49 | PEPPERL & FUCHS
61 | Proximity sensor | NJ20+U1+E2 | NJ20+U1+E2 | 32 | PEPPERL & FUCHS
62 | Power supply | PIC240.241 (10A) | PIC240.241 | 2 | PULS-POWER
63 | Feed-through terminal block | PT 2,5 | 3209510 | 909 | PHOENIX CONTACT
64 | Ground modular terminal block | PT 2,5-PE | 3209536 | 80 | PHOENIX CONTACT
65 | Feed-through terminal block | PT 4 | 3211757 | 15 | PHOENIX CONTACT
66 | Ground modular terminal block | PT 4-PE | 3211766 | 1 | PHOENIX CONTACT
67 | Signal tower lamp | ST56ML-BZ-3-24-RAG | ST56ML-BZ-3-24-RAG | 1 | Q Light
68 | Signal Tower Lamp | ST45L-1-24-R-SZ18 | ST45L-1-24-R-SZ18 | 3 | Q Light
69 | Control panel | TS8D85.500 | 8D85500 | 2 | RITTAL
70 | Side panel | TS8185.235 | 8185235 | 1 | RITTAL
71 | VX Base/plinth corner piece with panel | VX.8620.026 | 8620026 | 2 | RITTAL
72 | VX Base/plinth trim panel, side 200mm | VX.8620.042 | 8620042 | 1 | RITTAL
73 | VX Base/plinth trim panel, side 100mm | VX.8620.032 | 8620032 | 1 | RITTAL
74 | Pocket for wiring diagrams | TS4118.000 | 4118000 | 1 | RITTAL
75 | Cover for baying system | TS8800.885 | 8800885 | 1 | RITTAL
76 | Serial connection angle | TS8800.430 | 8800430 | 1 | RITTAL
77 | String connector | TS8800.500 | 8800500 | 1 | RITTAL
78 | TS section for cable entry, rear 1600mm | TS.8802.165 | 8802165 | 2 | RITTAL
79 | Handle | TS8611.290 | 8611290 | 2 | RITTAL
80 | Lock insert | TS8611.160 | 8611160 | 2 | RITTAL
81 | End cover | SV9340.070 | 9340070 | 2 | RITTAL
82 | Busbar support | SV9340.010 | 9340010 | 2 | RITTAL
83 | Connection adapter | SV9342.240 | 9342240 | 1 | RITTAL
84 | Connection adapter | SV9342.210 | 9342210 | 6 | RITTAL
85 | Door switch | SZ4127.010 | 4127010 | 2 | RITTAL
86 | Plug socket | SZ2506.100 | 2506100 | 1 | RITTAL
87 | Compact control panel : 600x600x210 | AE1060.500 | 1060500 | 3 | RITTAL
88 | Compact control panel | AE1033.500 | 1033500 | 1 | RITTAL
89 | KL Terminal box, WHD: 400x300x120 mm, without mounting plate | KL1508.510 | 1508510 | 1 | RITTAL
90 | KL Terminal box, WHD: 300x300x120 mm, Sheet steel, without mounting plate | KL.1507510 | 1507510 | 5 | RITTAL
91 | KL Terminal box, WHD: 600x300x120 mm, Sheet steel, without mounting plate | KL.1510510 | 1510510 | 2 | RITTAL
92 | Under & Over current Relay | DSP-AOM-70B7-ZCT-A | DSP-AOM-70B7-ZCT-A | 1 | SAMHWADSP
93 | EOCR cable | DSP-CABLE-3m | DSP-CABLE-3m | 1 | SAMHWADSP
94 | Signal light | SKLC-006DL | SKLC-006DL | 2 | SAMKWANG
95 | Miniature circuit breaker iC60N, 2P, 2A, C | A9F74202 | A9F74202 | 1 | SCHNEIDER ELECTRIC
96 | brake rectifier | BMKB1,5 | BMKB1,5 | 1 | SEW EURODRIVE
97 | Plug connector | J00026A0165 | J00026A0165 | 28 | TELEGÄRTNER
98 | Relay coupler | TOS-24VDC-24VDC2A | 2618720000 | 8 | WEIDMÜLLER
99 | Isolating control transformer | WY42-3KAW | WY42-3KAW | 2 | WOONYOUNG