## 요약된 부품 목록_SST
Bill of material (BOM): |  |  |  | #H#
Bill of material
Pos | designation | Part no. | Order no. | Quantity | Manufacturer
1 | Cooling device | AP-ES230 | AP-ES230 | 2 | AIRMAJOR
2 | Emergency push button | SF2ER-E1RA2B | AUT.SF2ER-E1RA2B | 5 | AUTONICS
3 | Emergency push button | GUARD3-SF2ER | AUT.GUARD3-SF2ER | 5 | AUTONICS
4 | Line safety switch | DCP31-DN040-AMW | DCP31-DN040-AMW | 3 | DAERYUK
5 | Line safety switch | DCP31-DN200-AMW | DCP31-DN200-AMW | 2 | DAERYUK
6 | Line safety switch | DCP31-DN040-AHW | DCP31-DN040-AHW | 9 | DAERYUK
7 | Line safety switch | DCP31-DN100-AHW | DCP31-DN100-AHW | 3 | DAERYUK
8 | Line safety switch | DCP31-DN070-AHW | DCP31-DN070-AHW | 4 | DAERYUK
9 | Line safety switch | DCP31-DN020-AHW | DCP31-DN020-AHW | 4 | DAERYUK
10 | Braking resistor | MCRJ-300 | MCRJ-300 | 23 | FULLOHM
11 | Braking resistor | MCRJ-600 | MCRJ-600 | 1 | FULLOHM
12 | Braking resistor | MCRF(JC)-ST-9,6K | MCRF(JC)-ST-9,6K | 1 | FULLOHM
13 | Braking resistor | MCRJ-1200 | MCRJ-1200 | 3 | FULLOHM
14 | PILOT LAMP | PILOT LAMP(KH-505L-25) | KH.KH-505L-25-W | 1 | KOINO
15 | Pilot lamp | KH-2203L-TLW | KH-2203L-TLW | 14 | KOINO
16 | Push button | KH-2201-Y | KH-2201-Y | 5 | KOINO
17 | Push button | KH-2201-BK | KH-2201-BK | 45 | KOINO
18 | Key selector switch | KH-2202-2K | KH-2202-2K | 11 | KOINO
19 | Illuminated push button | KH-2204L-TLG | KH-2204L-TLG | 4 | KOINO
20 | SELECTOR SWITCH | KH-2202-2S | KH-2202-2S | 17 | KOINO
21 | Empty cabinet | KCB-221D | KCB-221D | 11 | KOINO
22 | Illuminated push button | KH-2204L-TLW | KH-2204L-TLW | 2 | KOINO
23 | Empty cabinet | KCB-222D | KCB-222D | 2 | Kun Hung Electric
24 | MCCB | TS160N-FMU/3P100A | 0105014900 | 1 | LSIS
25 | Door handle | EH2-S | EH2-S | 1 | LSIS
26 | 3 terminal cover | ITL23 | ITL23 | 2 | LSIS
27 | Power switch | MMS-32H-17A | MMS-32H-17A | 3 | LSIS
28 | Auxiliary switch | MMS-FX-1NO1NC | MMS-FX-1NO1NC | 79 | LSIS
29 | Power switch | MMS-32H-40A | MMS-32H-40A | 1 | LSIS
30 | Power switch | MMS-32H-22A | MMS-32H-22A | 5 | LSIS
31 | PLC | XEL-BSSRT | XEL-BSSRT | 8 | LSIS
32 | Digital Input module | XBE-DC16D | XBE-DC16D | 37 | LSIS
33 | Digital output module | XBE-TP16D | XBE-TP16D | 21 | LSIS
34 | HUB | XOL-ES4T | XOL-ES4T | 1 | LSIS
35 | Magnetic contactor | MC40a-DC24 | MC40a-DC24 | 1 | LSIS
36 | Varistor | US-11 | US-11 | 4 | LSIS
37 | Auxiliary switch block | UA4-22 | UA4-22 | 1 | LSIS
38 | Magnetic contactor | MC22b-DC24-11 | MC22b-DC24-11 | 2 | LSIS
39 | Magnetic contactor | MC18a-DC24-10 | MC18a-DC24-10 | 1 | LSIS
40 | Magnetic contactor | GMD-6M-DC24-10 | GMD-6M-DC24-10 | 17 | LSIS
41 | Surge suppressor | AS-12M/4 | AS-12M/4 | 48 | LSIS
42 | Power switch | MMS-32S-1.6A | MMS-32S-1.6A | 8 | LSIS
43 | Magnetic contactor | GMD-6M-DC24-01 | GMD-6M-DC24-01 | 29 | LSIS
44 | Power switch | MMS-32S-1.0A | MMS-32S-1.0A | 28 | LSIS
45 | Power switch | MMS-32S-2.5A | MMS-32S-2.5A | 30 | LSIS
46 | Inverter | LSLV0008S100-4EOFNS | LSLV0008S100-4EOFNS | 9 | LSIS
47 | Power switch | MMS-32S-4A | MMS-32S-4A | 1 | LSIS
48 | Inverter | SV0015IS7-4NOFDT | SV0015IS7-4NOFDT | 1 | LSIS
49 | MAGNETIC CONTACTOR | GMD-12M-DC24-01 | GMD-12M-DC24-01 | 2 | LSIS
50 | Auxiliary switch block | UA4-31 | UA4-31 | 2 | LSIS
51 | Inverter | SV0075IS7-4NOFDT | SV0075IS7-4NOFDT | 2 | LSIS
52 | Power switch | MMS-32S-10A | MMS-32S-10A | 3 | LSIS
53 | Inverter | SV0037IS7-4NOFDT | SV0037IS7-4NOFDT | 3 | LSIS
54 | Inverter | SV0008IS7-4NOFDT | SV0008IS7-4NOFDT | 14 | LSIS
55 | Maintenance switch | T3-4-8344/I2/SVB-SW | 207213 | 1 | MOELLER
56 | Relay | MY2IN220/240ACS | MY2IN220/240ACS | 1 | OMRON
57 | Relay socket | PYF08A-E | PYF08A-E | 1 | OMRON
58 | relay with LED | MY4N-D2-24VDC-(S) | MY4N-D2-24VDC-(S) | 21 | OMRON
59 | Relay socket | PYF14A-E | PYF14A-E | 21 | OMRON
60 | limit switch | WLG2-LD | WLG2-LD | 6 | OMRON
61 | Proximity sensor | NJ40+U1+E2 | NJ40+U1+E2 | 50 | PEPPERL & FUCHS
62 | Proximity sensor | NJ20+U1+E2 | NJ20+U1+E2 | 24 | PEPPERL & FUCHS
63 | Power supply | PIC240.241 (10A) | PIC240.241 | 2 | PULS-POWER
64 | Feed-through terminal block | PT 2,5 | 3209510 | 1410 | PHOENIX CONTACT
65 | Ground modular terminal block | PT 2,5-PE | 3209536 | 88 | PHOENIX CONTACT
66 | Feed-through terminal block | PT 4 | 3211757 | 15 | PHOENIX CONTACT
67 | Ground modular terminal block | PT 4-PE | 3211766 | 1 | PHOENIX CONTACT
68 | Signal tower lamp | ST56ML-BZ-3-24-RAG | ST56ML-BZ-3-24-RAG | 1 | Q Light
69 | Signal Tower Lamp | ST45L-1-24-R-SZ18 | ST45L-1-24-R-SZ18 | 4 | Q Light
70 | Signal Tower Lamp | ST45L-1-24-Y | S45L-1-24-Y | 11 | Q Light
71 | Control panel | TS8D85.500 | 8D85500 | 4 | RITTAL
72 | Side panel | TS8185.235 | 8185235 | 1 | RITTAL
73 | VX Base/plinth corner piece with panel | VX.8620.026 | 8620026 | 4 | RITTAL
74 | VX Base/plinth trim panel, side 200mm | VX.8620.042 | 8620042 | 1 | RITTAL
75 | VX Base/plinth trim panel, side 100mm | VX.8620.032 | 8620032 | 3 | RITTAL
76 | Pocket for wiring diagrams | TS4118.000 | 4118000 | 1 | RITTAL
77 | Cover for baying system | TS8800.885 | 8800885 | 3 | RITTAL
78 | Serial connection angle | TS8800.430 | 8800430 | 3 | RITTAL
79 | String connector | TS8800.500 | 8800500 | 3 | RITTAL
80 | TS section for cable entry, rear 1600mm | TS.8802.165 | 8802165 | 4 | RITTAL
81 | Handle | TS8611.290 | 8611290 | 4 | RITTAL
82 | Lock insert | TS8611.160 | 8611160 | 4 | RITTAL
83 | End cover | SV9340.070 | 9340070 | 2 | RITTAL
84 | Busbar support | SV9340.010 | 9340010 | 2 | RITTAL
85 | Connection adapter | SV9342.240 | 9342240 | 1 | RITTAL
86 | Connection adapter | SV9342.210 | 9342210 | 6 | RITTAL
87 | Door switch | SZ4127.010 | 4127010 | 4 | RITTAL
88 | Plug socket | SZ2506.100 | 2506100 | 1 | RITTAL
89 | Compact control panel : 600x600x210 | AE1060.500 | 1060500 | 4 | RITTAL
90 | KL Terminal box, WHD: 600x300x120 mm, Sheet steel, without mounting plate | KL.1510510 | 1510510 | 5 | RITTAL
91 | KL Terminal box, WHD: 300x300x120 mm, Sheet steel, without mounting plate | KL.1507510 | 1507510 | 2 | RITTAL
92 | Under & Over current Relay | DSP-AOM-70B7-ZCT-A | DSP-AOM-70B7-ZCT-A | 1 | SAMHWADSP
93 | EOCR cable | DSP-CABLE-3m | DSP-CABLE-3m | 1 | SAMHWADSP
94 | Signal light | SKLC-006DL | SKLC-006DL | 4 | SAMKWANG
95 | Miniature circuit breaker iC60N, 2P, 2A, C | A9F74202 | A9F74202 | 1 | SCHNEIDER ELECTRIC
96 | brake rectifier | BMKB1,5 | BMKB1,5 | 1 | SEW EURODRIVE
97 | Plug connector | J00026A0165 | J00026A0165 | 58 | TELEGÄRTNER
98 | Relay coupler | TOS-24VDC-24VDC2A | 2618720000 | 16 | WEIDMÜLLER
99 | Isolating control transformer | WY42-3KAW | WY42-3KAW | 3 | WOONYOUNG