## 요약된 부품 목록_SST
Bill of material (BOM): |  |  |  | #H#
Bill of material
Pos | designation | Part no. | Order no. | Quantity | Manufacturer
1 | Cooling device | AP-ES340 | AP-ES340 | 1 | AIRMAJOR
2 | Emergency push button | SF2ER-E1RA2B | AUT.SF2ER-E1RA2B | 3 | AUTONICS
3 | Emergency push button | GUARD3-SF2ER | AUT.GUARD3-SF2ER | 3 | AUTONICS
4 | Line safety switch | DCP31-DN040-AMW | DCP31-DN040-AMW | 3 | DAERYUK
5 | Line safety switch | DCP31-DN200-AMW | DCP31-DN200-AMW | 1 | DAERYUK
6 | Line safety switch | DCP31-DN040-AHW | DCP31-DN040-AHW | 5 | DAERYUK
7 | Line safety switch | DCP31-DN100-AHW | DCP31-DN100-AHW | 3 | DAERYUK
8 | Line safety switch | DCP31-DN070-AHW | DCP31-DN070-AHW | 4 | DAERYUK
9 | Line safety switch | DCP31-DN020-AHW | DCP31-DN020-AHW | 2 | DAERYUK
10 | Braking resistor | MCRJ-300 | MCRJ-300 | 13 | FULLOHM
11 | Braking resistor | MCRJ-600 | MCRJ-600 | 5 | FULLOHM
12 | PILOT LAMP | PILOT LAMP(KH-505L-25) | KH.KH-505L-25-W | 1 | KOINO
13 | Pilot lamp | KH-2203L-TLW | KH-2203L-TLW | 5 | KOINO
14 | Push button | KH-2201-Y | KH-2201-Y | 3 | KOINO
15 | Push button | KH-2201-BK | KH-2201-BK | 62 | KOINO
16 | Key selector switch | KH-2202-2K | KH-2202-2K | 4 | KOINO
17 | Illuminated push button | KH-2204L-TLG | KH-2204L-TLG | 2 | KOINO
18 | SELECTOR SWITCH | KH-2202-2S | KH-2202-2S | 2 | KOINO
19 | MCCB | TS100N-FMU/3P40A | 0105011500 | 1 | LSIS
20 | Door handle | EH2-S | EH2-S | 1 | LSIS
21 | 3 terminal cover | ITL23 | ITL23 | 2 | LSIS
22 | Power switch | MMS-32H-17A | MMS-32H-17A | 3 | LSIS
23 | Auxiliary switch | MMS-FX-1NO1NC | MMS-FX-1NO1NC | 46 | LSIS
24 | Power switch | MMS-32H-13A | MMS-32H-13A | 1 | LSIS
25 | PLC | XEL-BSSRT | XEL-BSSRT | 6 | LSIS
26 | Digital Input module | XBE-DC16D | XBE-DC16D | 23 | LSIS
27 | Digital output module | XBE-TP16D | XBE-TP16D | 18 | LSIS
28 | HUB | XOL-ES4T | XOL-ES4T | 3 | LSIS
29 | Magnetic contactor | MC12a-DC24-10 | MC12a-DC24-10 | 2 | LSIS
30 | Varistor | US-11 | US-11 | 2 | LSIS
31 | Magnetic contactor | GMD-6M-DC24-01 | GMD-6M-DC24-01 | 18 | LSIS
32 | Surge suppressor | AS-12M/4 | AS-12M/4 | 40 | LSIS
33 | Power switch | MMS-32S-1.0A | MMS-32S-1.0A | 18 | LSIS
34 | Power switch | MMS-32S-2.5A | MMS-32S-2.5A | 13 | LSIS
35 | Inverter | LSLV0008S100-4EOFNS | LSLV0008S100-4EOFNS | 13 | LSIS
36 | Magnetic contactor | GMD-6M-DC24-10 | GMD-6M-DC24-10 | 22 | LSIS
37 | Power switch | MMS-32S-1.6A | MMS-32S-1.6A | 11 | LSIS
38 | Power switch | MMS-32S-4A | MMS-32S-4A | 5 | LSIS
39 | Inverter | SV0015IS7-4NOFDT | SV0015IS7-4NOFDT | 5 | LSIS
40 | Relay | MY2IN220/240ACS | MY2IN220/240ACS | 1 | OMRON
41 | Relay socket | PYF08A-E | PYF08A-E | 1 | OMRON
42 | relay with LED | MY4N-D2-24VDC-(S) | MY4N-D2-24VDC-(S) | 4 | OMRON
43 | Relay socket | PYF14A-E | PYF14A-E | 4 | OMRON
44 | Proximity sensor | NJ40+U1+E2 | NJ40+U1+E2 | 47 | PEPPERL & FUCHS
45 | Proximity sensor | NJ20+U1+E2 | NJ20+U1+E2 | 26 | PEPPERL & FUCHS
46 | Power supply | PIC240.241 (10A) | PIC240.241 | 2 | PULS-POWER
47 | Feed-through terminal block | PT 2,5 | 3209510 | 867 | PHOENIX CONTACT
48 | Ground modular terminal block | PT 2,5-PE | 3209536 | 68 | PHOENIX CONTACT
49 | Feed-through terminal block | PT 4 | 3211757 | 12 | PHOENIX CONTACT
50 | Signal tower lamp | ST56ML-BZ-3-24-RAG | ST56ML-BZ-3-24-RAG | 1 | Q Light
51 | Signal Tower Lamp | ST45L-1-24-R-SZ18 | ST45L-1-24-R-SZ18 | 2 | Q Light
52 | Control panel | TS8D85.500 | 8D85500 | 3 | RITTAL
53 | Side panel | TS8185.235 | 8185235 | 1 | RITTAL
54 | VX Base/plinth corner piece with panel | VX.8620.026 | 8620026 | 3 | RITTAL
55 | VX Base/plinth trim panel, side 200mm | VX.8620.042 | 8620042 | 1 | RITTAL
56 | VX Base/plinth trim panel, side 100mm | VX.8620.032 | 8620032 | 2 | RITTAL
57 | Pocket for wiring diagrams | TS4118.000 | 4118000 | 1 | RITTAL
58 | Cover for baying system | TS8800.885 | 8800885 | 2 | RITTAL
59 | Serial connection angle | TS8800.430 | 8800430 | 2 | RITTAL
60 | String connector | TS8800.500 | 8800500 | 2 | RITTAL
61 | TS section for cable entry, rear 1600mm | TS.8802.165 | 8802165 | 3 | RITTAL
62 | Handle | TS8611.290 | 8611290 | 3 | RITTAL
63 | Lock insert | TS8611.160 | 8611160 | 3 | RITTAL
64 | End cover | SV9340.070 | 9340070 | 2 | RITTAL
65 | Busbar support | SV9340.010 | 9340010 | 2 | RITTAL
66 | Connection adapter | SV9342.240 | 9342240 | 1 | RITTAL
67 | Connection adapter | SV9342.210 | 9342210 | 6 | RITTAL
68 | Door switch | SZ4127.010 | 4127010 | 3 | RITTAL
69 | Plug socket | SZ2506.100 | 2506100 | 1 | RITTAL
70 | Compact control panel : 600x600x210 | AE1060.500 | 1060500 | 2 | RITTAL
71 | Compact control panel | AE1033.500 | 1033500 | 1 | RITTAL
72 | KL Terminal box, WHD: 600x300x120 mm, Sheet steel, without mounting plate | KL.1510510 | 1510510 | 2 | RITTAL
73 | KL Terminal box, WHD: 300x300x120 mm, Sheet steel, without mounting plate | KL.1507510 | 1507510 | 5 | RITTAL
74 | Signal light | SKLC-006DL | SKLC-006DL | 3 | SAMKWANG
75 | Miniature circuit breaker iC60N, 2P, 2A, C | A9F74202 | A9F74202 | 1 | SCHNEIDER ELECTRIC
76 | Plug connector | J00026A0165 | J00026A0165 | 28 | TELEGÄRTNER
77 | Relay coupler | TOS-24VDC-24VDC2A | 2618720000 | 24 | WEIDMÜLLER
78 | Isolating control transformer | WY42-3KAW | WY42-3KAW | 2 | WOONYOUNG