## Sheet1
designation | Part no. | Manufacturer | Total | CC01_CC01 | CC01_DP01 | CC01_DP02 | CC02_CC01 | CC02_DP01 | CC02_DP02 | CC02_DP03 | CC03_CC01 | CC03_DP01 | CC03_DP02 | CC03_DP03 | CC04_CC01 | CC04_DP01 | CC04_DP02 | CC04_DP03 | CC04_DP04 | CC05_CC01 | CC05_DP01 | CC05_DP02 | CC05_DP03 | CC06_CC01 | CC06_DP01 | CC06_DP02 | CC06_DP03 | CC06_DP04 | CC07_CC01 | CC07_DP01 | CC07_DP02 | CC08_CC01 | CC08_DP01 | CC08_DP02
Cooling device | AP-ES050 | AIRMAJOR | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
Cooling device | AP-ES230 | AIRMAJOR | 14 |  | 2 | 1 |  | 1 | 1 | 1 |  |  | 2 |  |  |  |  | 1 | 1 | [8 empty] | 2 |  |  |  |  | 1 | 1
Cooling device | AP-ES340 | AIRMAJOR | 13 | [8 empty] | 1 |  | 1 |  | 1 | 1 |  |  |  | 1 | 1 | 1 |  | 1 | 1 | 1 |  |  | 1 | 1 |  |  | 1
Photo sensor | BJX10M-TDT-P | AUTONICS | 137 |  | 11 | 3 |  | 12 | 16 | 4 |  | 2 |  |  |  | 16 | 16 | 4 |  |  | 4 |  | 6 |  | 4 | 8 |  |  |  | 4 | 10 |  |  | 17
Emergency push button | GUARD3-SF2ER | AUTONICS | 153 | 1 | 8 | 4 | 1 | 12 | 17 | 8 | 1 | 5 | 5 | 3 | 1 | 5 | 5 | 3 | 6 | 1 | 6 | 5 | 5 | 1 | 4 | 5 | 8 | 7 | 1 | 5 | 7 | 1 | 3 | 9
panel meter | MT4W-AA-4N | AUTONICS | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
panel meter | MT4W-AV-4N | AUTONICS | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
Proximity sensor | PRCM12-4DP | AUTONICS | 20 |  |  |  |  | 8 | 4 | [6 empty] | 4 | 4
Proximity sensor | PRCM30-15DP | AUTONICS | 30 |  |  |  |  | 18 | 12
Emergency push button | SF2ER-E1RA2B | AUTONICS | 153 | 1 | 8 | 4 | 1 | 12 | 17 | 8 | 1 | 5 | 5 | 3 | 1 | 5 | 5 | 3 | 6 | 1 | 6 | 5 | 5 | 1 | 4 | 5 | 8 | 7 | 1 | 5 | 7 | 1 | 3 | 9
Safety Door Switch | SFDL-S6A-M20 | AUTONICS | 16 |  | 2 |  |  | 1 | 1 | [6 empty] | 1 | 1 | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  |  |  | 1 | 2 |  |  | 2
Safety Door Handle | SFDL-SDK | AUTONICS | 16 |  | 2 |  |  | 1 | 1 | [6 empty] | 1 | 1 | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  |  |  | 1 | 2 |  |  | 2
NH heavy duty fuse | 80NHG000B-400 | BUSSMANN | 24 | 3 |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  |  | 3 |  |  |  | 3 |  |  |  |  | 3 |  |  | 3
selector switch | 07-3511-10S92 | Bartec | 14 | [18 empty] | 14
Line safety switch | DCP31-DN020-AHW | DAERYUK | 143 |  | 9 | 3 |  | 12 | 17 | 8 |  | 4 | 4 | 2 |  | 5 | 5 | 3 | 5 |  | 7 | 4 | 5 |  | 4 | 5 | 7 | 6 |  | 5 | 11 |  | 2 | 10
Line safety switch | DCP31-DN040-AHW | DAERYUK | 274 |  | 15 | 7 |  | 23 | 33 | 15 |  | 9 | 9 | 5 |  | 9 | 9 | 5 | 11 |  | 12 | 11 | 11 |  | 7 | 9 | 15 | 13 |  | 9 | 15 |  | 5 | 17
Line safety switch | DCP31-DN040-AMW | DAERYUK | 118 | 4 | 5 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 3 | 4 | 5 | 3 | 4 | 4 | 4 | 4 | 3 | 3 | 4 | 4 | 6 | 4 | 3 | 5
Line safety switch | DCP31-DN070-AHW | DAERYUK | 109 | 2 | 4 | 4 | 2 | 4 | 4 | 4 | 2 | 4 | 4 | 4 | 2 | 4 | 4 | 4 | 4 | 2 | 4 | 4 | 4 | 2 | 4 | 4 | 4 | 4 | 2 | 4 | 4 | 2 | 4 | 5
Line safety switch | DCP31-DN070-AMW | DAERYUK | 2 |  |  |  |  | 1 |  | 1
Line safety switch | DCP31-DN100-AHW | DAERYUK | 78 | 1 | 3 | 3 | 1 | 3 | 3 | 3 | 1 | 3 | 3 | 3 | 1 | 3 | 3 | 3 | 3 | 2 | 3 | 3 | 3 | 1 | 3 | 3 | 3 | 3 | 1 | 3 | 3 | 1 | 3 | 3
Line safety switch | DCP31-DN100-AMW | DAERYUK | 18 | 2 |  |  | 2 |  |  |  | 2 |  |  |  | 3 |  |  |  |  | 2 |  |  |  | 2 |  |  |  |  | 3 |  |  | 2
Line safety switch | DCP31-DN200-AMW | DAERYUK | 27 |  | 2 | 1 |  | 1 | 1 | 1 |  | 1 | 2 | 1 |  | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 |  | 1 | 1 | 1 | 2 |  | 1 | 1 |  | 1 | 2
Braking resistor | MCRA-200 | FULLOHM | 16 | [12 empty] | 9 | 7
Braking resistor | MCRF(JC)-ST-18K | FULLOHM | 10 |  | 2 | [10 empty] | 1 |  | 1 | [6 empty] | 1 |  |  |  |  | 1 | 2 |  |  | 2
Braking resistor | MCRF(JC)-ST-30K | FULLOHM | 5 | [5 empty] | 1 | [7 empty] | 1 |  |  |  | 1 |  | 1 |  |  | 1
Braking resistor | MCRF(JC)-ST-8K-40 | FULLOHM | 3 | [5 empty] | 1 | 2
Braking resistor | MCRF(JC)-ST-8K-85 | FULLOHM | 1 | [27 empty] | 1
Braking resistor | MCRF(JC)-ST-9,6K | FULLOHM | 11 |  | 1 | 1 |  | 1 |  |  |  | 2 | 1 | [8 empty] | 1 |  |  | 1 |  |  | 1 | [5 empty] | 2
Braking resistor | MCRJ-1200 | FULLOHM | 35 |  | 1 | 1 | [5 empty] | 2 | 3 |  |  |  |  | 1 | 2 |  | 3 | 3 | 2 |  | 2 | 1 | 1 | 4 |  | 1 | 1 |  | 2 | 5
Braking resistor | MCRJ-1500 | FULLOHM | 5 |  | 1 | 1 |  |  | 1 | [6 empty] | 1 | 1
Braking resistor | MCRJ-2000 | FULLOHM | 4 |  | 1 | [10 empty] | 1 |  |  |  |  | 1 | [8 empty] | 1
Braking resistor | MCRJ-300 | FULLOHM | 215 |  | 10 | 6 |  |  | 1 |  |  | 11 | 23 | 13 |  | 9 | 13 | 3 | 12 |  | 9 | 7 | 4 |  | 7 | 17 | 5 | 29 |  | 12 | 7 |  | 5 | 12
Braking resistor | MCRJ-600 | FULLOHM | 34 |  | 2 | 2 | [5 empty] | 2 | 1 | 5 |  | 1 |  |  | 3 |  |  | 2 |  |  |  | 2 | 5 | 2 |  |  | 4 |  | 2 | 1
Braking resistor | MCRJ-800 | FULLOHM | 4 |  |  |  |  | 1 | 1 | [6 empty] | 1 | 1
Empty cabinet | KCB-221D | KOINO | 45 | [5 empty] | 2 | 3 |  |  | 11 |  |  |  | 2 |  | 7 | [6 empty] | 7 |  | 13
Empty enclosure plastic | KCB224D | KOINO | 16 |  | 2 |  |  | 1 | 1 | [6 empty] | 1 | 1 | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  |  |  | 1 | 2 |  |  | 2
Push button | KH-2201-BK | KOINO | 1315 | 2 | 86 | 60 | 9 | 40 | 50 | 15 | 2 | 52 | 45 | 62 | 3 | 39 | 31 | 24 | 46 | 2 | 87 | 35 | 32 | 2 | 47 | 55 | 94 | 78 | 2 | 56 | 76 | 2 | 53 | 128
Push button | KH-2201-G | KOINO | 21 |  | 2 |  |  | 1 | 1 | [6 empty] | 2 | 2 | 2 |  |  | 1 |  | 1 |  | 1 | 1 |  |  |  | 1 | 2 |  |  | 4
Push button | KH-2201-R | KOINO | 32 |  | 4 |  |  | 2 | 2 | [6 empty] | 2 | 2 | 2 |  |  | 2 |  | 2 |  | 2 | 2 |  |  |  | 2 | 4 |  |  | 4
Push button | KH-2201-Y | KOINO | 152 | 1 | 8 | 4 | 1 | 12 | 17 | 8 | 1 | 5 | 5 | 3 |  | 5 | 5 | 3 | 6 | 1 | 6 | 5 | 5 | 1 | 4 | 5 | 8 | 7 | 1 | 5 | 7 | 1 | 3 | 9
Key selector switch | KH-2202-2K | KOINO | 311 | 2 | 17 | 7 | 12 | 15 | 22 | 9 | 2 | 13 | 11 | 4 | 2 | 11 | 11 | 5 | 19 | 2 | 11 | 16 | 14 | 2 | 8 | 11 | 14 | 17 | 2 | 9 | 15 | 2 | 4 | 22
SELECTOR SWITCH | KH-2202-2S | KOINO | 146 |  | 7 | 3 |  | 1 | 4 | 3 |  | 4 | 17 | 2 |  | 5 | 7 | 2 | 12 |  | 5 | 4 | 4 |  | 3 | 11 | 13 | 19 |  | 4 | 6 |  | 2 | 8
Pilot lamp | KH-2203L-TLW | KOINO | 352 | 2 | 20 | 8 | 2 | 16 | 22 | 8 | 2 | 15 | 14 | 5 | 2 | 18 | 12 | 7 | 23 | 2 | 22 | 9 | 17 | 2 | 10 | 15 | 16 | 22 | 2 | 11 | 18 | 2 | 5 | 23
Illuminated push button | KH-2204L-TLG | KOINO | 275 | 1 | 7 | 3 | 8 | 62 | 85 | 22 | 1 | 4 | 4 | 2 | 1 | 4 | 4 | 2 | 5 | 1 | 8 | 4 | 4 | 1 | 3 | 4 | 7 | 6 | 1 | 4 | 6 | 1 | 2 | 8
Illuminated push button | KH-2204L-TLW | KOINO | 59 | [9 empty] | 2 |  |  | 14 | 20 | [8 empty] | 11 | 12
Cam switch | KH-302A-33 | KOINO | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
Cam switch | KH-302V-33 | KOINO | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
PILOT LAMP | PILOT LAMP(KH-505L-25) | KOINO | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Empty cabinet | KCB-222D | Kun Hung Electric | 8 | [9 empty] | 2 | [13 empty] | 6
molded case circuit breaker | ABS103c-100A | LSIS | 5 | [7 empty] | 2 |  |  |  | 1 | [8 empty] | 2
molded case circuit breaker | ABS103c-120A | LSIS | 1 |  |  |  | 1
MCCB | ABS103c-120A | LSIS | 4 | [11 empty] | 4
MCCB | ABS103c-125A | LSIS | 3 | 1 | [24 empty] | 2
molded case circuit breaker | ABS103c-40A | LSIS | 1 | [7 empty] | 1
molded case circuit breaker | ABS103c-50A | LSIS | 1 | [11 empty] | 1
molded case circuit breaker | ABS103c-60A | LSIS | 5 |  |  |  | 2 | [7 empty] | 2 |  |  |  |  | 1
molded case circuit breaker | ABS103c-75A | LSIS | 5 | 1 | [15 empty] | 1 |  |  |  | 2 | [7 empty] | 1
molded case circuit breaker | ABS203c-175A | LSIS | 1 | [16 empty] | 1
molded case circuit breaker | ABS203c-200A | LSIS | 1 | [28 empty] | 1
Surge suppressor | AS-12M/4 | LSIS | 1000 |  | 63 | 51 |  | 14 | 22 | 9 |  | 51 | 48 | 40 |  | 33 | 25 | 13 | 37 |  | 79 | 26 | 20 |  | 38 | 33 | 80 | 72 |  | 46 | 53 |  | 47 | 100
Aux. switch | AX | LSIS | 27 | 2 | 1 |  | 3 |  |  |  | 3 |  |  |  | 4 |  |  | 1 |  | 3 |  |  |  | 4 |  |  | 1 | 1 | 2 |  |  | 2
Door handle | EH2-S | LSIS | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
MAGNETIC CONTACTOR | GMD-12M-DC24-01 | LSIS | 28 |  | 2 | 2 |  | 2 | 4 |  |  | 4 | 2 | [8 empty] | 2 |  |  | 2 |  |  | 2 |  |  | 2 |  |  | 4
Magnetic contactor | GMD-6M-DC24-01 | LSIS | 376 |  | 21 | 12 |  | 6 | 8 | 4 |  | 23 | 29 | 18 |  | 11 | 13 | 6 | 18 |  | 15 | 26 | 12 |  | 13 | 22 | 11 | 37 |  | 16 | 20 |  | 9 | 26
Magnetic contactor | GMD-6M-DC24-10 | LSIS | 584 |  | 40 | 37 |  | 4 | 8 | 5 |  | 24 | 17 | 22 |  | 20 | 10 | 7 | 17 |  | 60 | 4 | 10 |  | 23 | 11 | 62 | 33 |  | 30 | 32 |  | 38 | 70
Magnetic contactor | GMD-9M-DC24-10 | LSIS | 10 |  |  |  |  | 2 | 2 | [6 empty] | 2 | 2 |  | 2
3 terminal cover | ITL23 | LSIS | 62 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Inverter | LSLV0004S100-4EOFNS | LSIS | 16 | [12 empty] | 9 | 7
Inverter | LSLV0008S100-4EOFNS | LSIS | 147 |  | 10 | 6 |  |  | 1 |  |  | 9 | 9 | 13 |  | 8 | 4 | 2 | 3 |  | 9 | 3 | 2 |  | 7 | 8 | 5 | 12 |  | 12 | 7 |  | 5 | 12
Magnetic contactor | MC12a-DC24-10 | LSIS | 19 |  | 3 | 1 |  |  | 1 |  |  | 1 |  | 2 | [8 empty] | 2 |  |  |  | 4 |  |  | 2 | 2 |  |  | 1
Magnetic contactor | MC18a-DC24-10 | LSIS | 4 |  | 1 | [7 empty] | 1 | [11 empty] | 1 | [5 empty] | 1
Magnetic contactor | MC22b-DC24-11 | LSIS | 16 |  | 1 | 2 |  |  | 2 | 4 |  | 2 | 2 | [13 empty] | 1 |  |  |  | 1 |  |  | 1
Magnetic contactor | MC32a-DC24 | LSIS | 38 |  | 5 |  |  |  | 2 |  |  | 1 |  |  |  | 2 | 2 | 2 |  |  | 2 |  | 2 |  | 3 | 2 | 2 |  |  | 2 | 4 |  |  | 7
Magnetic contactor | MC40a-DC24 | LSIS | 30 | [9 empty] | 1 |  |  | 4 | 4 | 2 | 4 |  |  |  | 1 |  |  | 4 |  | 6 |  | 1 |  |  | 2 | 1
Magnetic contactor | MC50a-DC24 | LSIS | 2 | [17 empty] | 2
Magnetic contactor | MC65a-DC24 | LSIS | 2 | [17 empty] | 2
Power switch | MMS-32H-10A | LSIS | 12 | [5 empty] | 1 | [6 empty] | 1 | 2 | 1 | 1 | [6 empty] | 2 | 1 | 2 |  | 1
Power switch | MMS-32H-13A | LSIS | 17 |  | 1 | [8 empty] | 1 |  | 2 | 2 |  | 1 |  | 1 | [5 empty] | 3 |  |  | 2 | 4
Power switch | MMS-32H-17A | LSIS | 66 | 1 | 5 | 3 | 1 | 2 | 2 | 2 | 1 | 2 | 3 | 3 | 1 | 3 | 2 | 3 | 3 | 1 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 3 | 1 | 2 | 3 | 1 | 2 | 3
Power switch | MMS-32H-22A | LSIS | 31 |  | 2 | 2 |  | 2 |  |  |  | 6 | 5 | [5 empty] | 1 |  |  | 2 |  |  | 3 |  | 1 | 2 | [5 empty] | 5
Power switch | MMS-32H-26A | LSIS | 18 |  |  | 1 |  |  | 2 | 4 |  | 1 |  |  |  | 1 | [9 empty] | 2 | 1 | 3 |  |  | 1 |  |  | 2
Power switch | MMS-32H-32A | LSIS | 37 |  | 5 | 1 |  |  | 2 | [6 empty] | 2 | 2 | 2 |  |  | 3 |  | 3 |  | 3 | 2 | 1 |  |  | 2 | 4 |  |  | 5
Power switch | MMS-32H-40A | LSIS | 9 | [9 empty] | 1 | [7 empty] | 3 | [6 empty] | 1 |  | 1 |  |  | 2 | 1
Power switch | MMS-32H-4A | LSIS | 1 | [30 empty] | 1
Power switch | MMS-32H-6A | LSIS | 4 |  | 3 | [6 empty] | 1
Power switch | MMS-32S-1.0A | LSIS | 328 |  | 20 | 13 |  | 2 | 5 | 2 |  | 17 | 28 | 18 |  | 9 | 13 | 5 | 17 |  | 14 | 13 | 7 |  | 11 | 21 | 12 | 36 |  | 15 | 15 |  | 9 | 26
Power switch | MMS-32S-1.6A | LSIS | 396 | 1 | 21 | 27 | 1 |  | 1 |  | 1 | 16 | 8 | 11 | 1 | 21 | 11 | 3 | 15 | 1 | 35 | 1 | 3 | 1 | 13 | 6 | 61 | 17 | 1 | 20 | 24 | 1 | 31 | 43
Power switch | MMS-32S-10A | LSIS | 42 |  | 1 | 1 | [5 empty] | 3 | 3 |  |  |  |  | 1 | 3 |  | 3 | 6 | 3 |  | 2 | 1 | 2 | 4 |  | 1 | 1 |  | 2 | 5
Power switch | MMS-32S-13A | LSIS | 3 |  |  |  |  | 1 | 2
Power switch | MMS-32S-2.5A | LSIS | 311 |  | 17 | 8 |  |  | 1 |  |  | 14 | 30 | 13 |  | 13 | 13 | 5 | 14 |  | 24 | 7 | 8 |  | 12 | 20 | 7 | 41 |  | 20 | 9 |  | 12 | 23
Power switch | MMS-32S-4A | LSIS | 35 |  | 2 | 2 | [5 empty] | 2 | 1 | 5 |  | 1 |  |  | 3 |  |  | 2 |  |  |  | 2 | 6 | 2 |  |  | 4 |  | 2 | 1
Power switch | MMS-32S-6A | LSIS | 22 | 1 | 1 | 1 | 1 | 2 | 3 | 1 | 1 |  |  |  | 1 | 3 | 3 |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
Auxiliary switch | MMS-FX-1NO1NC | LSIS | 1291 | 2 | 74 | 55 | 2 | 9 | 18 | 9 | 2 | 59 | 79 | 46 | 2 | 55 | 47 | 20 | 58 | 2 | 85 | 33 | 25 | 2 | 45 | 58 | 93 | 109 | 2 | 63 | 64 | 2 | 60 | 111
Inverter | SV0008IS7-4NOFDT | LSIS | 68 | [8 empty] | 2 | 14 |  |  | 1 | 9 | 1 | 9 |  |  | 4 | 2 |  |  | 9 |  | 17
Inverter | SV0015IS7-4NOFDT | LSIS | 34 |  | 2 | 2 | [5 empty] | 2 | 1 | 5 |  | 1 |  |  | 3 |  |  | 2 |  |  |  | 2 | 5 | 2 |  |  | 4 |  | 2 | 1
Inverter | SV0022IS7-4NOFDT | LSIS | 13 |  | 1 | 1 |  | 2 | 3 | [6 empty] | 3 | 3
Inverter | SV0037IS7-4NOFDT | LSIS | 41 |  | 1 | 1 | [5 empty] | 3 | 3 |  |  |  |  | 1 | 3 |  | 3 | 6 | 3 |  | 2 | 1 | 1 | 4 |  | 1 | 1 |  | 2 | 5
Inverter | SV0055IS7-4NOFDT | LSIS | 6 |  | 1 | [10 empty] | 1 |  |  |  |  | 1 | [8 empty] | 1 | 2
Inverter | SV0075IS7-4NOFDT | LSIS | 22 |  | 2 | 2 |  | 2 |  |  |  | 4 | 2 | [8 empty] | 2 |  |  | 2 |  |  | 2 | [5 empty] | 4
Inverter | SV0110IS7-4NOFDT | LSIS | 6 | [5 empty] | 2 | 4
Inverter | SV0150IS7-4NOFDT | LSIS | 30 |  | 4 |  |  |  | 2 | [6 empty] | 2 | 2 | 2 |  |  | 2 |  | 2 |  | 2 | 2 |  |  |  | 2 | 4 |  |  | 4
3 terminal cover | TCL23 | LSIS | 46 | 4 |  |  | 6 |  |  |  | 6 |  |  |  | 8 |  |  |  |  | 6 |  |  |  | 8 |  |  |  |  | 4 |  |  | 4
MCCB | TS100N-FMU/3P40A | LSIS | 1 | [10 empty] | 1
MCCB | TS100N-FMU/3P50A | LSIS | 4 |  |  |  |  | 1 |  | 1 | [7 empty] | 1 |  |  |  | 1
MCCB | TS100N-FMU/3P63A | LSIS | 3 | [13 empty] | 1 |  | 1 |  |  |  | 1
MCCB | TS100N-FMU/3P80A | LSIS | 4 |  |  | 1 | [18 empty] | 1 | 1 | [6 empty] | 1
MCCB | TS160N-FMU/3P100A | LSIS | 6 | [5 empty] | 1 |  |  | 1 | 1 |  |  | 1 | [13 empty] | 1 | 1
MCCB | TS160N-FMU/3P125A | LSIS | 2 | [23 empty] | 1 | 1
MCCB | TS160N-FMU/3P160A | LSIS | 2 | [7 empty] | 1 | [9 empty] | 1
MCCB | TS250N-FMU/3P160A | LSIS | 1 |  | 1
MCCB | TS250N-FMU/3P200A | LSIS | 2 | [28 empty] | 1 |  | 1
MCCB | TS250N-FMU/3P250A | LSIS | 6 | 1 |  |  | 1 | [7 empty] | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1
Auxiliary switch block | UA4-13 | LSIS | 11 | [17 empty] | 4 | [5 empty] | 7
Auxiliary switch block | UA4-22 | LSIS | 34 | [9 empty] | 1 |  |  | 4 | 4 | 2 | 4 |  |  |  | 1 |  | 1 | 4 |  | 6 |  | 1 |  |  | 2 | 4
Auxiliary switch block | UA4-31 | LSIS | 80 |  | 6 | 2 |  | 4 | 6 | 4 |  | 6 | 2 |  |  | 4 | 4 | 2 | 2 |  | 2 | 8 | 4 |  | 4 | 2 |  | 2 |  | 2 | 6 |  |  | 8
Auxiliary switch block | UA4-40 | LSIS | 52 |  | 4 |  |  |  | 4 | 4 |  | 2 |  |  |  | 4 | 4 | 2 | 2 |  | 2 | 6 | 4 |  | 2 | 2 |  |  |  | 2 | 4 |  |  | 4
Varistor | US-11 | LSIS | 106 |  | 10 | 3 |  |  | 5 | 4 |  | 4 | 4 | 2 |  | 6 | 6 | 4 | 4 |  | 2 | 6 | 5 |  | 4 | 6 |  | 6 |  | 5 | 8 |  | 2 | 10
Digital Input module | XBE-DC16D | LSIS | 893 | 4 | 45 | 24 | 5 | 57 | 80 | 38 | 4 | 33 | 37 | 23 | 4 | 35 | 34 | 17 | 32 | 4 | 40 | 30 | 26 | 4 | 27 | 32 | 47 | 52 | 4 | 31 | 42 | 4 | 20 | 58
Digital output module | XBE-TP16D | LSIS | 514 | 2 | 26 | 15 | 3 | 33 | 42 | 21 | 2 | 19 | 21 | 18 | 2 | 21 | 19 | 10 | 17 | 2 | 22 | 20 | 17 | 2 | 16 | 20 | 24 | 25 | 2 | 19 | 26 | 2 | 11 | 35
Analog input module | XBF-AD04D | LSIS | 13 |  | 1 |  |  | 1 | 1 | [6 empty] | 1 | 1 | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  |  |  | 1 | 1 |  |  | 1
PLC | XEL-BSSRT | LSIS | 202 | 1 | 11 | 5 | 1 | 13 | 19 | 9 | 1 | 7 | 8 | 6 | 1 | 8 | 7 | 4 | 7 | 1 | 8 | 7 | 7 | 1 | 6 | 7 | 10 | 10 | 1 | 7 | 11 | 1 | 4 | 13
Main Base | XGB-M12A | LSIS | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
CPU Module | XGI-CPUUN | LSIS | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
Fenet I/F Module(Optical/Elec.) | XGL-EFMTB | LSIS | 41 | 4 |  |  | 5 |  |  |  | 6 |  |  |  | 6 |  |  |  |  | 5 |  |  |  | 7 |  |  |  |  | 4 |  |  | 4
Power module | XGP-AC23 | LSIS | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
HUB | XOL-ES4T | LSIS | 57 | 1 | 3 | 3 | 1 | 2 | 3 | 3 | 1 | 1 | 1 | 3 | 1 | 2 | 2 | 2 | 1 | 2 | 3 | 1 | 2 | 1 | 2 | 2 | 1 | 1 | 1 | 2 | 4 | 1 | 1 | 3
HMI | iXP2-1200A | LSIS | 19 |  | 2 |  |  | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 |  |  | 2 |  | 1 |  | 1 | 1 |  |  |  | 1 | 3 |  |  | 2
Circuit breaker | T0-4-8344/I1//SVB-SW | MOELLER | 8 | [6 empty] | 1 |  | 1 | [6 empty] | 1 |  |  | 3 | 1 | [7 empty] | 1
Maintenance switch | T3-4-8344/I2/SVB-SW | MOELLER | 32 |  | 3 | 1 |  | 2 | 4 | 2 |  | 2 | 1 |  |  | 1 | 1 | 1 |  |  | 1 | 1 | 1 |  | 2 | 1 |  | 1 |  | 1 | 2 |  |  | 4
Relay | MY2IN220/240ACS | OMRON | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
relay with LED | MY4N-D2-24VDC-(S) | OMRON | 254 |  | 12 | 6 |  | 2 | 6 | 4 |  | 16 | 21 | 4 |  | 12 | 12 | 7 | 12 |  | 8 | 25 | 10 |  | 6 | 18 | 10 | 29 |  | 4 | 12 |  | 4 | 14
Relay socket | PYF08A-E | OMRON | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Relay socket | PYF14A-E | OMRON | 254 |  | 12 | 6 |  | 2 | 6 | 4 |  | 16 | 21 | 4 |  | 12 | 12 | 7 | 12 |  | 8 | 25 | 10 |  | 6 | 18 | 10 | 29 |  | 4 | 12 |  | 4 | 14
limit switch | WLG2-LD | OMRON | 701 |  | 17 | 7 |  | 118 | 193 | 62 |  | 19 | 6 |  |  | 71 | 107 | 5 |  |  | 5 | 12 | 12 |  | 11 | 5 |  | 6 |  | 5 | 16 |  |  | 24
EMC filter | RMS-2010-D | ORIENT | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
Iso and switching amplifier | KFD2-SR2-EX2.W | PEPPERL & FUCHS | 21 | [18 empty] | 15 |  |  |  |  | 6
Iso and switching amplifier | KFD2-SR2-EX2.W | PEPPERL & FUCHS | 17 | [18 empty] | 11 |  |  |  |  | 6
근접 센서 | NBB20-U1K-N0 | PEPPERL & FUCHS | 6 | [18 empty] | 6
Proximity sensor | NBN40-U1K-N0 | PEPPERL & FUCHS | 26 | [18 empty] | 20 |  |  |  |  | 6
Proximity sensor | NJ20+U1+E2 | PEPPERL & FUCHS | 591 |  | 59 | 32 |  | 6 | 14 |  |  | 29 | 24 | 26 |  | 27 | 14 | 11 | 13 |  | 44 | 6 | 17 |  | 26 | 20 | 23 | 45 |  | 27 | 37 |  | 23 | 68
Proximity sensor | NJ40+U1+E2 | PEPPERL & FUCHS | 986 |  | 51 | 49 |  |  | 3 |  |  | 56 | 50 | 47 |  | 24 | 3 | 16 | 40 |  | 90 | 11 | 33 |  | 38 | 43 | 84 | 80 |  | 57 | 54 |  | 56 | 101
Feed-through terminal block | PT 16 N | PHOENIX CONTACT | 18 | [7 empty] | 3 | [12 empty] | 12 | [7 empty] | 3
Ground modular terminal block | PT 16 N-PE | PHOENIX CONTACT | 6 | [7 empty] | 1 | [12 empty] | 4 | [7 empty] | 1
Feed-through terminal block | PT 2,5 | PHOENIX CONTACT | 27936 | 92 | 1483 | 909 | 141 | 1520 | 2064 | 765 | 89 | 1060 | 1410 | 867 | 95 | 1200 | 1162 | 465 | 899 | 97 | 1411 | 1066 | 811 | 87 | 907 | 1046 | 1344 | 1561 | 91 | 1120 | 1296 | 89 | 765 | 2024
Ground modular terminal block | PT 2,5-PE | PHOENIX CONTACT | 2108 | 13 | 117 | 80 | 12 | 79 | 115 | 54 | 12 | 78 | 88 | 68 | 15 | 84 | 71 | 36 | 72 | 14 | 116 | 48 | 59 | 11 | 70 | 79 | 142 | 126 | 12 | 88 | 101 | 11 | 78 | 159
Feed-through terminal block | PT 4 | PHOENIX CONTACT | 249 |  | 15 | 15 |  | 15 | 15 | 18 |  | 18 | 15 | 12 |  | 12 | 12 | 12 | 12 |  |  | 15 |  |  | 15 | 12 |  | 3 |  |  | 3 |  | 12 | 18
Ground modular terminal block | PT 4-PE | PHOENIX CONTACT | 47 |  | 1 | 1 |  | 5 | 5 | 6 |  | 2 | 1 |  |  | 4 | 4 | 4 | 4 |  |  | 5 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 2
Feed-through terminal block | PT 6 | PHOENIX CONTACT | 45 |  | 6 |  |  |  | 3 | [6 empty] | 3 | 3 | 3 |  |  | 3 |  | 3 |  | 3 | 3 |  |  |  | 3 | 6 |  |  | 6
Ground modular terminal block | PT 6-PE | PHOENIX CONTACT | 15 |  | 2 |  |  |  | 1 | [6 empty] | 1 | 1 | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  |  |  | 1 | 2 |  |  | 2
High-current terminal block | PTPOWER 35 | PHOENIX CONTACT | 51 | 6 |  |  | 9 |  |  |  | 6 |  |  |  | 12 |  |  |  |  | 9 | [8 empty] | 6 |  |  | 3
Ground modular terminal block | PTPOWER 35-PE | PHOENIX CONTACT | 17 | 2 |  |  | 3 |  |  |  | 2 |  |  |  | 4 |  |  |  |  | 3 | [8 empty] | 2 |  |  | 1
High-current terminal block | PTPOWER 50 | PHOENIX CONTACT | 3 | [16 empty] | 3
High-current terminal block | PTPOWER 50-FE | PHOENIX CONTACT | 1 | [16 empty] | 1
Power supply | PIC240.241 (10A) | PULS-POWER | 54 | 1 | 2 | 2 | 1 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 1 | 2 | 2
Signal Tower Lamp | ST45L-1-24-R-SZ18 | Q Light | 84 |  | 3 | 3 |  | 9 | 14 | 6 |  | 4 | 4 | 2 |  | 2 | 2 |  | 5 |  | 2 | 2 | 2 |  | 1 | 2 | 7 | 6 |  | 1 | 1 |  | 2 | 4
Signal Tower Lamp | ST45L-1-24-Y | Q Light | 45 | [5 empty] | 2 | 3 |  |  | 11 |  |  |  | 2 |  | 7 | [6 empty] | 7 |  | 13
Signal tower lamp | ST45L-3-24-RAG-SZ18 | Q Light | 38 |  | 4 |  |  | 2 | 2 | 1 | [5 empty] | 2 | 2 | 2 |  |  | 3 | 2 | 2 |  | 2 | 2 |  |  |  | 3 | 5 |  |  | 4
Signal tower lamp | ST56L-1-24-R | Q Light | 32 |  | 4 |  |  | 2 | 2 | [6 empty] | 2 | 2 | 2 |  |  | 2 |  | 2 |  | 2 | 2 |  |  |  | 2 | 4 |  |  | 4
Signal tower lamp | ST56ML-BZ-3-24-RAG | Q Light | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Compact control panel | AE1033.500 | RITTAL | 12 |  |  | 1 |  |  | 3 | 1 |  |  |  | 1 | [5 empty] | 1 | [5 empty] | 2 | 3
Compact control panel | AE1054.500 | RITTAL | 19 |  | 2 |  |  | 1 | 1 | 1 | [5 empty] | 1 | 1 | 1 |  |  | 2 |  | 1 |  | 1 | 1 |  |  |  | 1 | 3 |  |  | 2
Compact control panel : 600x600x210 | AE1060.500 | RITTAL | 104 |  | 5 | 3 |  | 10 | 15 | 6 |  | 4 | 4 | 2 |  | 3 | 3 | 1 | 5 |  | 3 | 4 | 3 |  | 2 | 3 | 7 | 6 |  | 3 | 4 |  | 2 | 6
KL Terminal box, WHD: 300x300x120 mm, Sheet steel, without mounting plate | KL.1507510 | RITTAL | 44 |  | 4 | 5 |  | 1 |  |  |  | 4 | 2 | 5 | [6 empty] | 1 | 2 |  |  | 1 |  | 9 |  |  |  | 5 |  | 2 | 3
KL Terminal box, WHD: 600x300x120 mm, Sheet steel, without mounting plate | KL.1510510 | RITTAL | 94 |  | 8 | 2 |  | 5 | 7 | 2 |  | 3 | 5 | 2 |  | 5 | 6 | 1 | 2 |  | 3 | 2 | 1 |  | 5 | 2 | 3 | 5 |  | 6 | 6 |  | 3 | 10
KL Terminal box, WHD: 400x300x120 mm, without mounting plate | KL1508.510 | RITTAL | 69 |  |  | 1 |  | 10 | 13 | 5 |  | 2 |  |  |  | 4 | 1 | 2 | 5 |  | 5 | 1 | 4 |  |  | 5 |  | 8 |  |  |  |  | 1 | 2
NH-fuse on-load isolator | SV3431.000 | RITTAL | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
Busbar support | SV9340.010 | RITTAL | 62 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
End cover | SV9340.070 | RITTAL | 62 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Connection adapter | SV9342.210 | RITTAL | 187 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Connection adapter | SV9342.240 | RITTAL | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Connection adapter | SV9342.250 | RITTAL | 1 | [17 empty] | 1
Plug socket | SZ2506.100 | RITTAL | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Door switch | SZ4127.010 | RITTAL | 75 | 1 | 4 | 2 | 1 | 2 | 2 | 2 | 1 | 3 | 4 | 3 | 1 | 3 | 3 | 2 | 2 | 1 | 3 | 3 | 3 | 1 | 3 | 3 | 3 | 4 | 1 | 3 | 3 | 1 | 2 | 5
TS section for cable entry, rear 1600mm | TS.8802.165 | RITTAL | 75 | 1 | 4 | 2 | 1 | 2 | 2 | 2 | 1 | 3 | 4 | 3 | 1 | 3 | 3 | 2 | 2 | 1 | 3 | 3 | 3 | 1 | 3 | 3 | 3 | 4 | 1 | 3 | 3 | 1 | 2 | 5
Pocket for wiring diagrams | TS4118.000 | RITTAL | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Ride-up roller | TS4538.000 | RITTAL | 2 | [30 empty] | 2
Side panel | TS8185.235 | RITTAL | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Lock insert | TS8611.160 | RITTAL | 75 | 1 | 4 | 2 | 1 | 2 | 2 | 2 | 1 | 3 | 4 | 3 | 1 | 3 | 3 | 2 | 2 | 1 | 3 | 3 | 3 | 1 | 3 | 3 | 3 | 4 | 1 | 3 | 3 | 1 | 2 | 5
Handle | TS8611.290 | RITTAL | 75 | 1 | 4 | 2 | 1 | 2 | 2 | 2 | 1 | 3 | 4 | 3 | 1 | 3 | 3 | 2 | 2 | 1 | 3 | 3 | 3 | 1 | 3 | 3 | 3 | 4 | 1 | 3 | 3 | 1 | 2 | 5
Serial connection angle | TS8800.430 | RITTAL | 46 |  | 3 | 1 |  | 1 | 1 | 1 |  | 2 | 3 | 2 |  | 2 | 2 | 2 | 2 |  | 2 | 2 | 2 |  | 2 | 2 | 2 | 3 |  | 2 | 2 |  | 1 | 4
String connector | TS8800.500 | RITTAL | 46 |  | 3 | 1 |  | 1 | 1 | 1 |  | 2 | 3 | 2 |  | 2 | 2 | 2 | 2 |  | 2 | 2 | 2 |  | 2 | 2 | 2 | 3 |  | 2 | 2 |  | 1 | 4
Cover for baying system | TS8800.885 | RITTAL | 46 |  | 3 | 1 |  | 1 | 1 | 1 |  | 2 | 3 | 2 |  | 2 | 2 | 2 | 2 |  | 2 | 2 | 2 |  | 2 | 2 | 2 | 3 |  | 2 | 2 |  | 1 | 4
Control panel | TS8D85.500 | RITTAL | 75 | 1 | 4 | 2 | 1 | 2 | 2 | 2 | 1 | 3 | 4 | 3 | 1 | 3 | 3 | 2 | 2 | 1 | 3 | 3 | 3 | 1 | 3 | 3 | 3 | 4 | 1 | 3 | 3 | 1 | 2 | 5
VX Base/plinth corner piece with panel | VX.8620.026 | RITTAL | 75 | 1 | 4 | 2 | 1 | 2 | 2 | 2 | 1 | 3 | 4 | 3 | 1 | 3 | 3 | 2 | 2 | 1 | 3 | 3 | 3 | 1 | 3 | 3 | 3 | 4 | 1 | 3 | 3 | 1 | 2 | 5
VX Base/plinth trim panel, side 100mm | VX.8620.032 | RITTAL | 44 |  | 3 | 1 |  | 1 | 1 | 1 |  | 2 | 3 | 2 |  | 2 | 2 | 1 | 1 |  | 2 | 2 | 2 |  | 2 | 2 | 2 | 3 |  | 2 | 2 |  | 1 | 4
VX Base/plinth trim panel, side 200mm | VX.8620.042 | RITTAL | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Under & Over current Relay | DSP-AOM-70B7-ZCT-A | SAMHWADSP | 19 |  | 3 | 1 |  | 2 |  | 3 |  |  | 1 | [8 empty] | 4 |  |  |  | 1 |  |  |  | 1 | 3
EOCR cable | DSP-CABLE-3m | SAMHWADSP | 16 |  | 3 | 1 |  | 1 |  | 2 |  |  | 1 | [8 empty] | 3 |  |  |  | 1 |  |  |  | 1 | 3
EOCR cable | DSP-CABLE-5m | SAMHWADSP | 3 |  |  |  |  | 1 |  | 1 | [11 empty] | 1
Signal light | SKLC-006DL | SAMKWANG | 75 | 1 | 4 | 2 | 1 | 2 | 2 | 2 | 1 | 3 | 4 | 3 | 1 | 3 | 3 | 2 | 2 | 1 | 3 | 3 | 3 | 1 | 3 | 3 | 3 | 4 | 1 | 3 | 3 | 1 | 2 | 5
Miniature circuit breaker iC60N, 2P, 2A, C | A9F74202 | SCHNEIDER ELECTRIC | 31 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
brake rectifier | BMKB1,5 | SEW EURODRIVE | 27 |  | 3 | 1 |  | 1 | 1 |  |  | 2 | 1 |  |  | 1 | 1 | 1 |  |  | 1 | 1 | 1 |  | 2 | 1 |  | 1 |  | 1 | 3 |  |  | 4
Mid distance sensor | DT50-P1113 | SICK | 4 |  |  |  |  | 4
Plug connector | J00026A0165 | TELEGÄRTNER | 1060 | 12 | 54 | 28 | 14 | 40 | 60 | 34 | 16 | 38 | 58 | 28 | 16 | 38 | 48 | 22 | 46 | 16 | 38 | 44 | 34 | 18 | 30 | 48 | 34 | 70 | 12 | 28 | 46 | 12 | 18 | 60
Surge protector | 1352890000 | WEIDMÜLLER | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
Relay coupler | TOS-24VDC-24VDC2A | WEIDMÜLLER | 260 |  |  | 8 |  | 16 | 20 |  |  | 16 | 16 | 24 |  | 8 |  |  | 8 |  | 8 | 32 | 8 |  | 24 | 8 |  | 16 |  | 16 | 16 |  | 8 | 8
Isolating control transformer | WY42-1KAW | WOONYOUNG | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
Isolating control transformer | WY42-3KAW | WOONYOUNG | 58 | 1 | 3 | 2 | 1 | 2 | 2 | 2 | 1 | 2 | 3 | 2 | 1 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 3 | 1 | 2 | 2 | 1 | 2 | 3
Current transformer | WYCR-30 | WOONYOUNG | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
Workstation | CM-NT-419-A-HU |  | 8 | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  |  | 1 |  |  |  |  | 1 |  |  | 1
Voltage sag protection | D2W-1000 |  | 1 | [25 empty] | 1
Under & Over current Relay | DSP-AOM-70B7-ZCT-A |  | 21 | [5 empty] | 4 |  |  | 3 |  |  |  | 1 | 1 | 1 | 1 |  | 1 |  | 2 |  | 2 |  |  | 1 | [5 empty] | 4
EOCR cable | DSP-CABLE-3m |  | 21 | [5 empty] | 4 |  |  | 3 |  |  |  | 1 | 1 | 1 | 1 |  | 1 |  | 2 |  | 2 |  |  | 1 | [5 empty] | 4